## Slide 1: Software for processing and analyzing data obtained from hybrid pixel detectors of the Medipix family
Aleksandr Lapkin (JINR)(lapkin@jinr.ru)
Nucleus-2022
15.07.2022

## Slide 2: Multi-energy tomography
Our group is developing a multi-energy tomograph using Medipix family detectors
To obtain energy information Medipix detectors perform threshold scans (series of frames of the object with different thresholds)
We need a tool to operate threshold scan data
Bateman, Christopher & Rajendran, Kishore & Ruiter, Niels & Butler, Anthony & Butler, Philip & Renaud, Peter. (2015). The Hidden K-edge Signal in K-edge Imaging.
Anderson, Nigel G. et al. “Spectroscopic (multi-energy) CT distinguishes iodine and barium contrast material in MICE.” European Radiology 20 (2010): 2126-2134.
Multi-energy CT

## Slide 3: Medipix
Medipix series detectors are hybrid semiconductor pixel detector
Developed by Medipix collaboration (https://medipix.web.cern.ch/)
Consists of a semiconductor sensor and a readout integrated circuit
Photons are detected by their transferring energy to electrons. The appeared free electrons move to the pixel contact pads, causing a signal
The signal is digitized and compared with the threshold in a pixel. Pixels operate independent

## Slide 4: Experimental Setup (“Kalan” )
Widepix
detector
Sample
X-ray tube

## Slide 5: Widepix
Widepix detector (15х1):
15 Medipix3RX in one row
Charge Summing Mode for compensation the effect of charge spreading
256х3840 = 983040 pixels
Two registration channels with one counter for each channel
CdTe sensor
Pixet Software:
Standard software for driving of Medipix detectors
Allows to make readout of frames series, threshold scans, equalization and detector setup
Python interpreter
Pixet cannot provide analysis which is required for our researches

## Slide 6: Widepix analyser
The program was written to analyze threshold scans data
It was written in C++ language using Qt and CERN ROOT libraries
There is the phantom with tubes with La and Gd and pork fat on the frame (the phantom is showing in the next slide)

## Slide 7: Phantoms
Phantom with tubes and pork fat
Phantom with tubes. There are I, Gd, La solutions and H2O in the tubes (Cocktail phantom)
These phantoms allow to compare X-ray energy absorption of different materials in different concentrations
Pork fat emulates soft tissue

## Slide 8: Frames
Frame is an image from the detector
Frame is a 2D histogram
A bin value is calculated from the counter values of the corresponding pixels (raw data, FFC,…)
1
FFC pixel value
x, pixel
2000
3000
3840
1000
0
0
250
200
150
100
50
y, pixel
0.25
0.5
0.75
0
FFC frame THL = 36
Cocktail phantom
1000000
Counter 1 pixel value
x, pixel
2000
3000
3840
1000
0
0
250
200
150
100
50
y, pixel
200000
400000
600000
0
800000
Raw data frame THL = 36

## Slide 9: Frames
Frame is an image from the detector
Frame is a 2D histogram
A bin value is calculated from the counter values of the corresponding pixels (raw data, FFC,…)
1
FFC pixel value
2000
3000
3840
1000
0
0
250
200
150
100
50
y, pixel
0.25
0.5
0.75
0
x, pixel
FFC frame THL = 36
1000000
Counter 1 pixel value
x, pixel
2000
3000
3840
1000
0
0
250
200
150
100
50
y, pixel
200000
400000
600000
0
800000
Raw data frame THL = 36
Phantom with pork fat

## Slide 10: Regions of Interest (RoI)
The program can operate a set of different RoI
Region of interest is a detector area which is processed independently
1
FFC pixel value
x, pixel
400
600
1000
200
0
0
250
200
150
100
50
0.2
0.6
0.8
800
0
0.4
y, pixel
Frame area, FFC, THL = 36
Solder wire
Tube 1
La
Tube 2
Gd
Tube 3
H2O
Tube 4
I
Tube 5
La
Tube 6
H2O
Tube 7
Gd
Tube 8
I
Tube 9
H2O
There are 35 tubes and 2 solder wires on the frame
Cocktail phantom
Solder wire
Solder wire
Tube 1
Tube 2
Tube 3
Tube 35
Tube 34
Tube 33
Tube 15
empty

## Slide 11
Frame area, FFC, THL = 36
Phantom with pork fat
Chip 5
Chip 6
Chip 7
1
0
FFC pixel value
x, pixel
1400
1600
1792
1200
1024
0
250
200
150
100
50
y, pixel
0.25
0.5
0.75
La
La + Fat
Fat chip 6
Fat chip 7
Fat + Gd
Gd
1280
1536
Fat
Gd
La
The program can operate a set of different RoI
Region of interest is a detector area which is processed independently
Regions of Interest (RoI)

## Slide 12: Spectra
Spectrum means the dependence of the frame value on the threshold value
The frame value is calculated from pixel values (sum, mean, median, min, max,…)
Spectra can be calculated for RoI
36
50
100
150
200
250
0
0.25
0.5
0.75
1
300
THL
Median FFC in RoI
Cocktail phantom spectra by tubes
Tube 15 empty
H2O
La
Gd
I
Solder

## Slide 13: Spectra
Spectrum means the dependence of the frame value on the threshold value
The frame value is calculated from pixel values (sum, mean, median, min, max,…)
Spectra can be calculated for RoI
36
50
75
100
125
150
0.5
0.6
0.7
180
THL
Median FFC in RoI
Phantom with pork fat spectra

## Slide 14: Statistic data
The statistic data is calculated on the whole Widepix detector, each Medipix3RX chip and each regions of interest
The statistic analysis is made pixel by pixel. The pixel value is calculated on the counter values (counter1, counter0, FFC, counter1/counter0,…)
Cocktail phantom data, THL = 100, pixel value is FFC
RoI | Number of pixels | Sum | Mean | Median | Standard deviation | Signal to noise resolution
Tube 1 (La) | 17466 | 14091.2 | 0.806778 | 0.799718 | 0.03115 | 28.8349
Tube 2 (Gd) | 17834 | 12761.3 | 0.715558 | 0.704645 | 0.0377045 | 22.4352
Tube 3 (H2O) | 22140 | 21153.9 | 0.955462 | 0.952464 | 0.00329717 | 29.6459
Tube 4 (I) | 18772 | 6430.13 | 0.342539 | 0.324684 | 0.0486977 | 12.0184
The program calculates data:
Number of pixels
Minimum
Maximum
Sum
Mean
Median
Number of zero pixels
Number of filtered pixels
Number of overflowed pixels
Standard deviation
Signal to noise resolution
Variance
Most probable value of pixel in RoI

## Slide 15: Table of statistical values
The program generates statistic data in the form of a table
Cocktail phantom data, THL = 100, pixel value is FFC

## Slide 16: Two dimension spectra
Two dimension spectrum is a 2D histogram
  X axis is the threshold value
  Y axis is the pixel value
The bin value is the number of pixels with the corresponding value at the given threshold.
Two dimension spectra show the dependence of the pixel distribution by the threshold value
Ranges and numbers of bins can be set by user
Cocktail phantom
THL
36
300
150
100
50
200
250
0
0.25
0.5
1
0
8000
FFC pixel value
Number of pixels
0.75
2000
4000
6000
Tube 15 empty
H2O
La
Gd
I

## Slide 17: Two dimension spectra
THL
36
175
100
75
50
125
150
0
0.25
0.5
1
0
1500
FFC pixel value
Number of pixels
0.75
250
500
1000
750
1250
Chip 5
Chip 6
Chip 7
1
0
FFC pixel value
x, pixel
1400
1600
1792
1200
0
250
200
150
100
50
y, pixel
0.25
0.5
0.75
1024
La
La + Fat
Fat chip 6
Fat chip 7
Fat + Gd
Gd
1280
1536
Two dimension spectrum is a 2D histogram
  X axis is the threshold value
  Y axis is the pixel value
The bin value is the number of pixels with the corresponding value at the given threshold
Two dimension spectra show the dependence of the pixel distribution by the threshold value
Ranges and numbers of bins can be set by user
Empty space
Gd
La
Fat
Phantom with pork fat

## Slide 18: Distribution
Distribution is a y-profile of 2D-Spectrum
Cocktail phantom
THL
36
300
150
100
50
200
250
0
0.25
0.5
0.75
1
0
2000
4000
6000
8000
FFC pixel value
Number of pixels
THL = 36
THL = 125
THL = 215
THL = 300

## Slide 19: Distribution
Distribution is a y-profile of 2D-Spectrum
Pork fat phantom
THL = 36
THL = 84
THL = 132
THL = 180
THL
36
175
100
75
50
125
150
0
0.25
0.5
0.75
1
0
250
750
1000
1500
FFC pixel value
Number of pixels
180
1200
500

## Slide 20: Distribution
Cocktail phantom, THL = 36
The distribution is a histogram
  X axis is the pixel value
  Y axis is the number of pixels
The distribution provides a probability distribution of pixel value
The distribution of the frame with threshold THL = 36 with cocktail phantom is shown on the figure
20
0.5
6000
4000
2000
0
0
0.25
0.75
1
FFC pixel value
Number of pixels
Tube 15 empty
H2O
La
Gd
I
Solder

## Slide 21: Calibration
The program provides possibilities to make calibration for Medipix3RX in Widepix detector
The calibration is calculated from a series of open-beam threshold scans with different X-ray tube voltage
The calibration data is used to align Medipix3RX detector with each other
The calibration data allows to plot spectra using energy scale
40
60
80
100
120
Energy, keV
200
300
400
500
THL, DAC units

## Slide 22: Additional features of the program
Further plans
Pixel filtering (filtering by a condition for pixel value, filtering by deviation from mean value, filtering areas,…)
Saving pictures in different formats
Mathematical operations with spectra
Writing documentation
Embedding of material identification algorithms
Rebinning
Porting on Windows system
Modification to work with other Medipix detectors (on demand)

## Slide 23
All source code is available to all interested colleagues for free.
https://github.com/lapkinspjinr/widepix_analyser_2.git
Any suggestion for adding features to the program are welcome (lapkin@jinr.ru)
The program is available at (unzip, run widepix_analyser_2.sh):
https://drive.google.com/file/d/1DxxsUFTb3vQFS9L-cpTprQJD-n9RQ4fi/view?usp=sharing
Thanks for your attention
Are there any questions?