**READOUT ELECTRONICS FOR THE WIDE APERTURE SILICON TRACKING SYSTEM OF THE BM@N EXPERIMENT AT NICA**

M. O. Shitenkov1, D. V. Dementev 1, Y. A. Murin1

*1Veksler and Baldin Laboratory of High Energy Physics Joint Institute for Nuclear Research,* *Baldin str. 6, Dubna 141980, Russian Federation*

E-mail: shitenkow@gmail.com

BM@N experiment at NICA in Dubna is currently being upgraded for the study of dense nuclear matter in heavy-ion collisions. One of the major upgrades is a new hybrid tracking system consisting of the large-area Silicon Tracking System (STS) and seven GEM planes [1]. STS is based on the modules with double-sided microstrip silicon sensors of CBM-type. The data driven acquisition system of STS is relying on self-triggering readout channels and data processing chain is adopted for the operation with BM@N trigger [2].

The core components of the readout chain are Front-end Boards (FEB), GBTxEmulator board and GBTxEmulator Readout Interface (GERI) board. The front-end board is an integrated part of the STS module. The main components of FEB are eight STS-XYTER ASICs which are needed for the readout of one side of the silicon sensor. The GBTxEmulator board based on FPGA which emulates functionality of the CERN GBTx ASIC [3] and provides a bidirectional optical link between front-end electronics and data processing boards in the server nodes. The GERI board concentrates and pre-processes the data stream, ﬁlters the data according to the BM@N trigger signals and provides an interface to conﬁguration and control of the readout electronics.

For the needs of integration into the global BM@N DAQ a trigger-based data filtering was developed and implemented. Methods of integration and synchronization of the STS readout chain with the common data acquisition system BM@N experiment are described.

Front-end electronics, electrical connections, data concentrator and architecture of data processing board are described in the report. The results of testing of a pilot version of the readout chain are presented.

Work is supported by RFBR 18-02-40047 grant.

1. The BM@N STS group, "The Silicon Tracking System as Part of the Hybrid Tracker of the BM@N Experiment: Technical Design Report", JINR, Dubna, 2020, ISBN 978-5-9530-0541-8.

2. D. Dementev, M. Guminski, I. Kovalev, M. Kruszewski, I. Kudryashov, A. Kurganov et al., FastData-Driven Readout System for the Wide Aperture Silicon Tracking System of the BM@N Experiment, Physics of Particles and Nuclei 52 (2021) 830.

3. P. Moreira et al., “GBTX manual.” https://espace.cern.ch/GBT-Project/GBTX/Manuals/gbtxManual.pdf [Online; accessed 22-September-2021], 2018.